## Slide 1: Level 1 SIT & SHAKE
Level 2
STRETCH & POINT
Level 3
STAND
Level 4
MARCH & WALK
BMAT Level
Ceiling or total lift
Air assist device or PATRAN sheet
Equipment
Ceiling or portable lift
Air assist device or PATRAN sheet
Mechanical Sit- Stand
Gait Belt
Manual Stand-aid
Walker or assistive device
-None
Dependent:
on bedrest
unable to assist
weakness throughout all extremities,
unable to sit up
Minimum Assistance: able to bear weight, may need physical assistance
Moderately Dependent: can come to a seated position but cannot get up, able to bend/flex ankle and point toes (with at least with one leg)
Independent: able to stand from seated position and walk independently without assistive devices; no known concerns for falling
Ability
Your Safety is Our Greatest Concern
Safe Patient Handling Bedside Mobility Assessment Tool (BMAT)
LEVEL OF INDEPENDENCE