Safe Patient Handling Training

Purpose:

To provide patient/ resident care staff with the appropriate information to ensure use of safe patient handling equipment and techniques in all patient care areas in order to foster a safe environment for patients, residents and associates when transfers and repositioning are required.

Background/ Intro:

- Did you know?

- Patient care ranks among the top 10 most hazardous occupations for injuries to muscles and joints?

- 12% of nurses leave the profession each year due to chronic/ acute back injuries and pain?

- Over 52% of nurses complain of chronic back pain lasting more than 14 days within the last 6 months?

- Review SPH law in New York state

- Changes in population we are caring for (weight/ size increase, sicker in hospital, older)

- Average age of RN in US is 49 years old (so now we have older nurses lifting heavier, older, sicker patients = all parties at greater risk of injury

Principles of Safe Patient Handling:

- Maintain a wide stable base

- Face the direction of your movement.  Avoid twisting your body.

- Keep the patient as close to your body as possible.

- Adjust the height of the bed so you don’t have to bend over and reach lower than you need to.

- When providing care, put the bed at waist level.  When you are moving a patient, put the bed at hip level.

- Adjust the bed height to the shortest caregiver involved in the transfer.  Taller people should bend their knees to get lower.

- Take down the side rails to minimize your reach.

- Make sure to lock the brakes on the bed or target transfer surface (i.e. stretcher or bed).

- Assess the patient and the environment and select the appropriate equipment/ staff.

- Plan the transfer and communicate.

- Instruct the patient on what you are going to do and have them help as much as possible.

- Take responsibility for knowing how equipment works and its availability.

Use of Appropriate Equipment:

Bed Positioning—Use of Non-Friction Devices (PATRAN sheet):

- Go over example of rolling a patient with legs straight versus bent (force decrease by 40%)

- Safe technique for boosting (spine straight, no twisting, weight shift using legs, bed at proper height)

- A non-friction device provides a slippery surface under the linens for repositioning patients in bed and for lateral (bed to stretcher) transfers.

- A non-friction device helps to:

- Decrease the amount of resistance

- Decrease the amount of effort required

- Increase patient comfort.

- PATRAN sheet: single patient use, disposable friction reducing sheet.  Can use up to 25-30 times.  May need to use 2 sheets with larger, wider patients.

- Place PATRAN sheet (either by rolling or pushing under patient)—show difference of how easy the boost is.  It is important to use a draw sheet or other linens to create “handles” when repositioning patients or performing lateral transfers.

- PATRAN sheets are found in clean utility rooms on all units.

- Discuss Trendelenburg position—how the patent can move without even touching them

- Procedure for using Non-Friction Device to Reposition in Bed:

- Adjust bed to a height that promotes good body mechanics and place the bed in the flat position.

- Position the Non-Friction Device underneath the patient either by rolling patient to one side or pushing under the patient by pushing down into mattress under the patient’s natural curves (neck, lumbar spine, knees).  A draw sheet should be between the patient and the non-friction device.

- Do not pull the non-friction device.  Pull the sheet that is between the patient and the non-friction device.

- With at least one caregiver on either side of the bed, grasp the sheet with the caregiver’s palms down.

- Using proper body mechanics, caregivers will shift their weight, sliding (not lifting) patient into proper position on the bed.

- Remove the non-friction device either by rolling patient or pulling out from opposite corner.  The non-friction device cannot be left under the patient after move is completed.

- Procedure for using Non-Friction Device to Laterally Transfer:

- Adjust bed to a height that promotes good body mechanics and place the bed in the flat position.

- Position the Non-Friction Device underneath the patient either by rolling patient to one side or pushing under the patient by pushing down into mattress under the patient’s natural curves (neck, lumbar spine, knees).  A draw sheet should be between the patient and the non-friction device.

- Adjust the bed so that it is the same height as the stretcher or even and inch higher than stretcher.

- The caregivers should be positioned: one on the side of the supporting surface (i.e. bed, stretcher, procedure table) and the other caregiver on the side of the target surface.

- Grasp the sheet with the caregiver’s palms down.

- Using proper body mechanics, the first caregiver(s) shall push the patient towards the target surface while the second caregiver(s) receives the patient and pulls the rest of the distance.

- Remove the non-friction device either by rolling patient or pulling out from opposite corner.  The non-friction device cannot be left under the patient after move is completed.

Bed Positioning- Use of Air-assisted Device (Comfort Glide):

- Review the use of Comfort Glide—as a friction reducing device for lateral transfers or for repositioning patients/ residents

- Requires a minimum of 2 people (3 preferably)

- Review weight capacity for Comfort Glide is 1,000 pounds. You may need to use 2 pumps if the patient is over 500 pounds.

- Review the components of the device. The pump which is on a cart and should be rolled in. It should be cleaned between patient rooms. Review the Comfort Glide itself: the patient facing side vs the air hole side. Direction of the patient’s head vs feet. Air hose connection—place the hose in the side you are transferring to.

- Comfort Glide sheets are located in clean utility rooms on all units. Pumps should be located wherever equipment is stored.

- Procedure for using Comfort Glide:

  - Place air-assisted device under the patient/ resident by log rolling

  - Ensure that the transfer surfaces are close together and that all wheels are locked. If patient is on a stretcher, ensure that bed rails are up.

  - Plug air supply into wall outlet

  - Insert the hose nozzle into either end of the hose entries on Comfort Glide—attach to the side in which you are transferring to

  - Verbally prepare patient

  - Turn on air supply to inflate Comfort Glide

  - Push the Comfort Glide—using segmented transfer (head-first then feet and lower body)

  - Ensure the patient is centered on receiving surface before deflation

  - Turn off air supply and make sure patient is secure with bed rails as necessary

  - Patient can remain on Comfort Glide—just make sure hose is unattached

Total Mechanical Lift:

- A total mechanical lift provides a safe transfer for patients requiring full assistance. Review type of patient indicated for total lift.  (non-weight bearing, unable to follow commands, poor sitting balance, etc.)

- A total mechanical lift will be used to lift patients/ residents from the floor.  A patient must be assessed by a physician or an RN and cleared for transfer prior to using a lifting device.

- Two or more care givers must be present when operating these lifts.

- Discuss basics- weight capacity, battery function, on/off switch, hand controls, toggle switch and emergency lowering.  Base operation for opening and closing legs.

- Slings- capacity, sizing, positioning (bottom of sling only needs to go to tailbone area, top will go to shoulder area) Remind to check sling to ensure in proper working order.  Review placing sling in supine position, head of bed elevated, or in chair or seated position (so position sling by either rolling patient or leaning patient forward and sliding down back).  Review leg strap attachments (criss-cross loops for stability versus open leg sling for hygiene or showering versus cross under legs or cradle method for amputee) Hook up for sitting is shorter at shoulders to help lower extremities come in under shoulders for landing.

- Demonstrate transfer from bed to chair.

- Review and demonstrate using lift for getting patient up from floor.

- Procedure for using total lift:

- Adjust bed to a height that promotes good body mechanics.

- Visually inspect sling for signs of wear and tear.  Do not use any sling that is visibly damaged.

- Position patient on the appropriate sling.

- With brakes unlocked, position lift directly in front of a wheelchair or seated patient or perpendicular to a bed or supine patient.

- Position carry bar so that it is parallel with the patient’s shoulders.

- Attach the sling straps without pulling or tugging, to the desired setting.

- Verbally prepare the patient.

- Gently raise patient minimally from surface.

- Turn patients’ legs towards the perpendicular support bar of the lift during the move.

- Gently lower patient onto surface.

- Remove sling from under patient, whenever possible or unless contraindicated (I.e. skin breakdown, obesity, etc.)

Sit- Stand Mechanical Lift:

- A sit-stand mechanical lift provides a safe seat to seat transfer for the patient who has partial weight bearing capabilities in one or both legs and has good cognition.

- The patient must be able to move from a supine to sitting position and balance in a sitting position on the edge of the bed.

- Two or more caregivers must be present when operating these lifts.

- The sit/stand mechanical lift is especially useful for toileting and pericare activities.

Review basics of the lift- weight capacity, battery function, on/off switch, hand controls, and toggle switch.  Base operation for opening and closing legs.

- Review contraindications of use: recent colostomy/ ileostomy, certain cardiac conditions or severe respiratory problems, recent back or abdominal surgery, abdominal aneurysm, rib fracture

- Demonstrate transfer from bed to chair.

- Procedure for using Mechanical Sit-Stand:

- Adjust the bed to a height that promotes good body mechanics and allows for patient’s feet to be on floor.

- Visually inspect slings for signs of wear and tear.  Do not use any sling that is visibly damaged.

- Apply proper size sling so that the bulk of the belt rests in the patients’ lower back region.  Tighten the belt buckle so that it fits snug to the patient.  The belt may need to be tightened as the patient rises.  Attach calf strap (if indicated).

- Position the sit/stand mechanical lift with the base open, as needed and the lift facing the patient.

- Instruct/ assist the patient to grasp handle(s) on the lift, if able, with arms on the outside of the sling.

- Close the legs of the lift during movement of the lift with the patient in it.  Do not move the lift with the legs open.

- Verbally prepare the patient for transfer.

- Instruct/ assist patient to lean back into the sling as they are gently lifted minimally form the surface.

- Transfer and gently lower patient to the new surface, detach the sling and calf strap and remove it from the patient.

Manual Stand Aid:

- Review the basics of using manual stand aid and type of patient indicated for use (must be able to bear weight, fair amount of upper extremity strength, good static and dynamic sitting balance, able to transfer from sit to stand with only minimal assistance, etc.)

- Must use brakes on unit while patient is transferring.

- Procedure for using Manual Stand Aid:

- Adjust the bed to a height that promotes good body mechanics and allows for patient’s feet to be on floor.

- Position stand aid in front of patient and LOCK WHEELS.

- Raise the two split seat units up and parallel to the side of the transfer aid.

- Have the patient place their feet on platform and knees against shin pads.

- Instruct patient to lean forward and grasp the crossbar to pull themselves up using their own strength into standing position.

- Lower both split seat units down into position to form a complete seat.

- Have the patient lower themselves down onto the seat while keeping their knees in the shin pads and maintaining a grasp on the crossbar.

- Unlock the casters and using the crossbar furthest from the patient, move the standing aid to the new surface.

Transfer/ Gait Belt:

- The transfer/ gait belt provides caregivers with a secure point of contact with the patient, protects the patients from accidental trauma to the skin, and provides a sense of security to the patient.

- Used on a patient who requires assist rising or during ambulation, the patient must be able to move feet in the desired direction during a transfer.

- The patient should not require lifting or need to be held up.  If a patient is at risk for collapsing or falling, the transfer/ gait belt is NOT the safest mode of transfer.  The sit/stand or the total lift may be indicated.

- Review contraindications of use: recent colostomy/ ileostomy, certain cardiac conditions or severe respiratory problems, recent back or abdominal surgery, abdominal aneurysm, rib fracture

- Procedure for using Transfer/ Gait Belt:

- Explain the purpose of the transfer/ gait belt to patient.

- Apply gait belt, around waist, snuggly attached (able to place 2 fingers between belt and patient’s clothing).

- Assist patient to a standing position by grasping the belt.  Watch patient’s eyes and communicate with them to assess alertness and response to activity.

- While maintaining a grasp on the belt, ambulate with your patient by sidestepping with patient stepping into caregiver’s base of support.

- Review safe lowering to the floor.  If patient faints or loses balance, lower patient as far as you can while maintaining upright posture, as patient is going down, release your grip on gait belt and protect their head as they fall to the floor.

HoverJack:

- Always use a minimum of 2 caregivers when operating. (Preferably 3 or 4)

- Never leave patient/ resident unattended while on inflated HoverJack or HoverMatt.

- Indications:  patients/ residents unable to assist in their own vertical lift, such as after a fall.  Patients/ residents whose weight or girth poses a potential health risk for the caregivers responsible for lifting or moving patients/ residents.

- Contraindications:  Patients/ residents who are experiencing thoracic, cervical or lumbar fractures that are deemed unstable; unless using in conjunction with a spinal board.

- Weight capacity: 1200 pounds

- HoverJack can be inflated up just 2 or 3 cells, instead of all 4, to help someone off the floor to a chair if clinically cleared to do so.

- All cells must be inflated in order of succession (1,2,3,4).  Do not fill chambers out of sequence.

- If chambers are to be deflated while patient is still on HoverJack, deflation must occur in reverse order  (4,3,2,1).

Procedure for using HoverJack (either with separate inflation/ deflation valves or universal valves:

- Place HoverJack on floor next to patient/ resident, making sure the chamber with Valve #4 is on the top and the chamber with Valve #1 is against the floor.

- Make certain all 4 red-capped deflation valves are capped tightly or that all universal valves are closed tightly to maintain inflation.

- Log roll or slide patient/ resident using HoverMatt onto deflated HoverJack and position patient/ resident in the center of the HoverJack with feet at valve end where indicated.  (If using HoverMatt, make certain HoverMatt is deflated prior to inflating the HoverJack.)

- Secure patient safety straps around patient/ resident.  Make sure straps are not snug fitting around patient/ resident.  Do not tighten straps.

- Plug air supply into outlet or battery pack.

- Hold air supply hose against inlet Valve #1 of HoverJack.

- Turn on air supply.

- Begin inflation with Valve #1.  When fully inflated, remove hose.  Valve will automatically close, keeping the chamber inflated.  (Look, Listen, Feel.  Look for patient/ resident body to stop rising.  Listen for the change in sound of air supply.  Feel chamber for firmness.)

- Using the same process, move to valve #2, valve #3, valve #4 in exact succession.

- Turn off air supply.

- Transfer patient/ resident to adjacent surface using HoverMatt.