## Slide 1
Sit- Stand Slings
Safe Patient Handling and Mobility Quick Reference Guide
- 1000 lb capacity
- Transfer at an angle(hand off method) when possible
Hover Jack
Canisters: Unit-Specific
Matts: Single-Patient Use- in clean utility or Request from Store room
Comfort Glide
Lift patient from floor to bed
1200 lb capacity. In Nursing Admin office, ED, 3E, and CCC.
Ceiling Lifts
600 or 1000 lb capacity. In ICU.
Bariatric Hoyer Lift
475, 600 or 700 lb capacity. On most Patient Care units. Slings in clean utility rooms.
Available through Store room or in clean utility rooms
Bariatric Equipment Rentals
Mechanical Sit- Stand
350- 440 lb capacity. On most Patient care units.
Slings in clean utility rooms.
Bariatric Sit to Stand
800 lb capacity. Materials Management or 3rd floor.
350- 450 lb capacity
Locations: Patient care units
Full Mechanical Lifts
Manual Stand Aids
Contact the vendor (Agiliti) to arrange for delivery.
Bariatric Equipment
for Rent:
Beds
Mattress (low air loss pulsate, immerse, or OOK)
Chairs
Commodes
Walker
Located in most patient care units
Bariatric Equipment Rentals
Air-Assist Devices:
Lifts:
Slings:
Sit to Stand :
Weight limits may vary: Check each piece of equipment for weight capacity prior to use
Universal Slings
Gait Belts:
For any Safe Patient Handling and Mobility Concerns, please email: Kim Alger or check with your SPH unit representative.
Available through Store room on in clean utility rooms
Lateral transfer, boosting, turning/repositioning
*know capabilities of patient prior to use
Patran Slide sheet:
Location:
Storeroom and patient care units